| LUMINAIRE LOGBOOK | Page 1 |
| --- | --- |

| Manufacturer Information |  |
| --- | --- |
| Manufacturer: | DGA SPA |
| Address: | Via Pietro Nenni 72/B - 50013 Campi Bisenzio (FI) - Italy |
| Phone Number: | +39 055 8986235 |
| Email Address: | info@dga.it |
| Website: | https://www.dga.it |
| Quality Certifications: | ISO 9001 / ISO 14001 |

| Luminaire Model Information |  |
| --- | --- |
| Model Number: (*) | 7_4623._____ / 7_4597._____ |
| Luminaire Name: | Ariel P IP40 Plug&Play / Ariel P IP40 |
| Description: | Proiector for indoor use; plug & play |
| Dimensions: | 78x50x40 mm |
| Weight: | 170 gr |
| Material Used: | Aluminium |
| Colour temperature (*) | U1 2200K CRI > 90; W 3000K CRI > 90. B2 2400K CRI > 90; W1 3000K CRI > 95. X 2700K CRI > 90; K 3500K CRI > 90. X1 2700K CRI > 95; K1 3500K CRI > 95. 6 3000K CRI > 80; D 4000K CRI > 90.. |
| Power Rating: | 9W |
| Energy Efficiency Rating: | D / E |
| IP Rating | IP40 |
| Dimmable: | yes |

| Production Details |  |
| --- | --- |
| Date of Manufacture: (*) |  |
| Batch Number: (*) |  |
| Manufacturing Location: | DGA SPA - Campi Bisenzio (FI) - Italy |

| Testing and Inspection Records |  |
| --- | --- |
| Voltage Test Result: | 18V |
| Current Test Result: | 0,5A |
| Power Consumption Test Result | 9W |
| Safety Compliance Test Result: | CE |
| Quality Inspection: | PASS |

(*) See on the rear product/label

| LUMINAIRE LOGBOOK | Page 2 |
| --- | --- |

| Scheduled Maintenance: |  |
| --- | --- |
| Date: [Enter Date of Maintenance] |  |
| Description of Maintenance: [Enter Details] |  |
| Performed By: [Enter Name of Technician] |  |

| Repairs: |  |
| --- | --- |
| Date of Repair: [Enter Repair Date] |  |
| Problem Description: [Enter Issue or Failure Description] |  |
| Repair Action Taken: [Enter What Was Done to Repair] |  |
| Replacement Parts: [Enter Part Numbers and Descriptions] |  |
| Performed By: [Enter Name of Technician] |  |

| Warranty Claims: |  |
| --- | --- |
| Claim Date: [Enter Date of Claim] |  |
| Issue: [Enter Issue Reported] |  |
| Action Taken: [Enter Action Taken] |  |
| Warranty Status: [Enter Warranty Status] |  |

| Installation Details |  |
| --- | --- |
| Installation Date: [Enter Date of Installation] |  |
| Installed By: [Enter Name of Installer] |  |
| Location of Installation: [Enter Installation Location] |  |
| Installation Instructions: | See DGA Installation Manual (**) |
| Additional Notes: [Any installation-specific notes] |  |

| Compliance and Standards |  |
| --- | --- |
| Safety Certifications: | CE |
| Environmental Impact: | TM66 |
| Regulatory Compliance: | RoHS, WEEE |

| End of Life (EOL) Information |  |
| --- | --- |
| Recycling Instructions: | See DGA Recycling Instructions (**) |
| Disposal Instructions: | See DGA Disposal Instructions (**) |

(**) Details on DGA web site : https://www.dga.it/en/products/ariel.php